## Slide 1: A Review of Critical Flow Venturis

## Slide 2: Sonic Nozzles

## Slide 3: Discharge Coefficient Cd

## Slide 4: Isentropic, 1-Dimensional Flow, Perfect Gas
Velocity at each cross section of a convergent-divergent critical venturi (Reynolds 1886, Rayleigh 1916)

## Slide 5: Isentropic, 1-Dimensional Flow, Perfect Gas, Fully Expanded (no shocks)

## Slide 6: Inviscid Core Flow
Smith and Matz 1962, “A non-one-dimensional flow exists because of the centrifugal forces created by the turning of the flow in the contraction section.”
1-D:
2-D:
Hall 1962, Kliegel and Levine 1969  0.12 %
where a2, a3, and a4 are gas species dependent components and Λ is the expansion parameter (R or 1 + R).

## Slide 7: Velocity Boundary Layer: Cd scales with Re-1/2
Blasius: boundary layer on a flat plate
Laminar: Tang 1969, Geropp 1971, similarity transformations
Turbulent: Stratford 1964, integral boundary layer technique
Mickan 2006
Transition at Re 1 x 106
where Ω = r*/R is the throat curvature ratio (nominally 0.25 for an ASME / ISO venturi), a1 and a2 are coefficients, and m and n are exponents whose values depend on whether the flow is laminar or turbulent.

## Slide 8
Reynolds Number Scaling

## Slide 9: Boundary Layer Transition
Ishibashi and Arnberg, The Effect of Inlet Geometry on the Critical Flowrate of Toroidal Throat Venturi Nozzle, CFVN Workshop, Quedlinburg, Germany, June, 2005

## Slide 10: Analytical Cd predictions agree well with experiments
Johnson and Wright 2008
Mickan 2006

## Slide 11: Gas Species Effects
Solid lines from Nakao and Takamoto, Discharge Coefficients of Critical Flow Venturi Nozzles for CO2 and SF6, Transactions of the ASME, December, 2000, d = 0.295 to 2.36 mm.
Points from NIST experiments, d = 0.387 mm.

## Slide 12: Cd can be treated as numerous uncoupled physical phenomena
Cd = CR*Cinv Cvbl CTbl Ca Cvib + higher order terms
Vibrational relaxation (CO2, SF6)
Thermal expansion of CFV material
Thermal boundary layer
Velocity boundary layer
Real gas effects
Inviscid core flow